PRE-AC Diagnostic Knowledge Test

Time Allowed 30minutes

Test designed to be diagnostic for the underpinning requirements for AC

Student Name                                                                                                         Date

Section A : Basic Physics

1: Factors affecting resistance

There are four factors that affect resistance there are and are measured in what units

| Factor | Measurement Units |
| --- | --- |
| Length | meters |
| Cross Sectional Area | m2 |
| Temperature | Degrees C |
| Permeability p | Ohms/m3 |

2: Factors affecting capacitance;

From the list below select the appropriate factors.

| Factors | Tick if factor |
| --- | --- |
| Type of conductor used to make the plates |  |
| Cross Sectional Area of the plates | x |
| Thickness of the insulator |  |
| Material use for the dielectric | x |
| Distance between the plates | x |
| Distance between the leads |  |

3: Factors determining inductance

From the list below which are not factors that determine inductance.

| Factors | Tick if not |
| --- | --- |
| Cross Sectional Area of the wire | x |
| Total number of turns |  |
| The permeability of the wire | x |
| Length of the coil |  |
| Cross Sectional Area of the coil |  |
| Length of the coiled wire | x |
| The Core type used |  |

4: Describe lenz’s law.

The current induced in a conductor will set up a magnetic field that opposes the magnetic field causing the current.

Part B:  Circuit analysis

Determine a), b), c) and d)

Q1.

Answer:

Q2.

Answer:

Q3:

Answer:

Q4:

Answer:

Q5:

Answer:

Q6:

Answer:

Q7:

Answer:

Q8:

Answer:

Section C : Definitions and Differences

Q1:

| Quantity | Definition | Differences |
| --- | --- | --- |
| Applied voltage | Supply voltage from a source that cant normally be easily adjusted | Not caused by current, but normally chemical or mechanical energy being converted. |
| Voltage drop | Caused by current as it passes through the resistance of a component. | The result of work done. Or electrical current changing energy form. |
| Potential voltage | The ability to case electrons to flow. |  |

Q2:

| Quantity | Definition | Units of measure |
| --- | --- | --- |
| Electrical current | The flow of free electron between atoms. | Amperes |
| Resistance | Opposition to current flow. | Ohms |
| Inductance | Opposition to current flow caused by the changing magnetic field. | Henry’s |

Q3:

| Quantity | How is energy stored? | Units of measure |
| --- | --- | --- |
| Capacitor | Electrostatic field in the dielectric. | Amperes |
| Resistance | Is not stored but converted to heat. | Ohms |
| Inductor | Electromagnetic field created by the coils fields combining. | Henry’s |